## Slide 1: Capacity forecast on DALI data.
rk
Spa
Bram Vonk, JADS-Enexis
June 29 2021

## Slide 2: Inhoud komend half uur
Korte introductie project (5 min)
Project opzet en werkwijze (5 min)
Resultaten eerste sprint
  Waarde (5 min)
  Data (5 min)
  Model (5 min)
Discussie (4 min)
Werk komende sprint (1 min)

## Slide 3: Aanleiding
Vraag netverantwoordelijken Q3 2020
  Kan met DALI data trafo overbelasting voorzien worden?
  Nu JADS opleiding waarin dit vraagstuk goed past.
Probleem
  Door energietransitie forse boost opwek en belasting (groei extremen)
    Niet meer afdoende reactief (sleepwijzers of DALI) verzwaringen in te plannen.
    Dit raakt de leveringszekerheid, veiligheid en versnelt de energietrasnitie niet.
Project doel
  Forecast 6-12 maanden vooruit de capaciteitsvraag op basis van DALI data.

## Slide 4: Vergezicht oplossing
historic data
forecast
autumn
spring
transformer limit
transformer
loading
Voorbeeld:
  In de herfst kunnen bepalen met bepaalde zekerheid of er in de lente issues komen.

## Slide 5: Project actoren
Grid Planners/Users
Business / Mngmnt
Me
supervision / support JADS
Academic Director
PDEng student
Data Engineers
support Data Science Team
3wk
3wk

## Slide 6: Way of Working vanuit Data Science/JADS: CRISP-DM
Modeling
Data Preperation
Data Understanding
Business Understanding
Deployment
Evaluation

## Slide 7: Focus afgelopen sprint (documented in report)
Data Understanding
Business Understanding
Actions Bram
  Report on Business Value
  Flow down slides
Check from Grid Planners
  Requirements
  Flow down slide
Actions Bram (partly done)
  Check data access / quality
  Suggestion for robustness data.
Input Grid Planners:
  Tips / GO with suggested approach on data
Actions Bram (done)
  First thoughts on modelling

## Slide 8: Flow Down Business value
Forecast Model
Business Value
Company KPI
Project KPI
Model Usage
Y variables
X Variables
Historic timeseries P / S DALI
Future timeseries P / S DALI
Nominal power of transformer
Model result
Optimal planning transformer replacement
Safety
Reliability
Affordability
Sustainability
Prop. transformer overloaded
Do nothing
Stop growth
Ad hoc replacement
Planned replacement
Overloading
Outage
Claims
Ad hoc resources
Planned resources
Possible actions

## Slide 9: Requirements for achieving value
Model
  Explainable
  Forecast has prediction intervals
  Forecast horizon 6-12 months
  Uses prior information of population (if data is limited)
Usage tool
  No separate log in/install
  Quick visualisation of results (no waiting)
  Scalable up to 35k transformers
  Sorting on urgency
  Reliable (tool + forecast)
  Export results possible for other tools (e.g. Vision, Power BI dashboards)

## Slide 10: Data
(meta)data available (queried)
  Source: Athena  Snowflake
  15 minute averages (per phase and sum)
  Data since 2018 (growing pop.  8k)
    Proposal:
      10 transformers for PoC
      Scale to 423 for development + test
      End product testing on 8k (dummy 35k)
Data quality
  Completeness issues
    ETL issues, data expected to be there later.
Concept preprocessing:
  3 most extreme S values per week, transformer, phase
    More robust + eliminates week seasonality
  Storage result: AWS S3, parquet

## Slide 11: Model
Probabilistic approach
  Enables prediction interval
  Computational burden?
  Able to deal with prior knowledge
Package / language (via python)
  Pymc3 (bit familiar with)
  Stan
  (Edward)
Generalized Additive Model
  yearly season + piecewise trend + (error)
  Explainable

## Slide 12: Discussie

## Slide 13: Focus komende sprint
Data Understanding
Business Understanding
Input verwerken vandaag
Verder op Data Understanding
Over 3 weken:
  Beslissing of data voldoende business waarde kan toevoegen  GO / NO GO