## Slide 1: Capacity forecast on DALI data.
rk
Spa
Bram Vonk, JADS-Enexis
July 20 2021

## Slide 2: Inhoud komend half uur
Recap vorige sprint review (5 min)
Resultaten sprint
  Data (5 min)
  Model (10 min)
Werk komende sprint (2 min)
Discussie (8 min)

## Slide 3: Recap vorige sprint
Project doel
  Forecast 6-12 maanden vooruit de capaciteitsvraag op basis van DALI data.
Voorbeeld:
  In de herfst kunnen bepalen met bepaalde zekerheid of er in de lente issues komen.
historic data
forecast
autumn
spring
transformer limit
transformer
loading

## Slide 4: Way of Working vanuit Data Science/JADS: CRISP-DM
Modeling
Data Preperation
Data Understanding
Business Understanding
Deployment
Evaluation

## Slide 5: Focus of this sprint
Actions Bram
  Explore possibility max/min values
  Look at data quality
  Solution on missing data
  Use data in experimental model
Actions Grid Planners
  5-10 DALI boxed transformers (with overloading history)
Data Understanding
Business Understanding

## Slide 6: Data
10 random Dali trafo’s from metadata
  7/10 existed in measurement table
  4/10 had enough data (>2 year history)
General observations
  Missing data draws extremes to mean
    Completely missing weeks are interpolated
  Weekly min and max are sufficient
    No added value 2nd extreme (same as 1st)
    Simplifies query
  Sometimes weird situations (switching?)

## Slide 7: Flow Down Business value
Forecast Model
Business Value
Company KPI
Project KPI
Model Usage
Y variables
X Variables
Historic timeseries P / S DALI
Future timeseries P / S DALI
Nominal power of transformer
Model result
Optimal planning transformer replacement
Safety
Reliability
Affordability
Sustainability
Transformer overloaded soon
Do nothing
Stop growth
Ad hoc replacement
Planned replacement
Overloading
Outage
Claims
Ad hoc resources
Planned resources
Possible actions

## Slide 8: Requirements for achieving value
Model
  Explainable
  Forecast has prediction intervals
  Forecast horizon 6-12 months
  Uses prior information of population (if data is limited)
Usage tool
  No separate log in/install
  Quick visualisation of results (no waiting)
  Scalable up to 35k transformers
  Sorting on urgency
  Reliable (tool + forecast)
  Export results possible for other tools (e.g. Vision, Power BI dashboards)

## Slide 9: Model structure
Generalized Additive Model
  Picked DALI box 133.134-1
  Total = trend + year component

## Slide 10: Model structure
Generalized Additive Model
  Picked DALI box 133.134-1
  Total = trend + year component

## Slide 11: Model parameter estimation
On historic / observed data
  95% quantile band (needs attention)
  Issues with scaling of data for estimation

## Slide 12: Forecasting with model
First impression  not too bad
Next step  validation with data
Request  overloading use cases

## Slide 13: Issue with trend changepoints
Proposal:
  Only changepoints on observations, not on expectations.

## Slide 14: Focus komende sprint (in september, na verlof)
Data Preparation
Verder met
  Data Preparation  set op S3
  Model  opzetten testcases

## Slide 15: Discussion