## Slide 1: Capacity forecast on DALI data.
rk
Spa
Bram Vonk, JADS-Enexis, September 2021
context
status
outlook

## Slide 2: Grid management overhead line  Enexis  your fusebox

## Slide 3: Capacity planning
Traditional method
Yearly loading assessed from drag pointer
Transformer towards limit  action (takes months)
Current situation
Energy transition  transformer loading increases rapidly
Traditional method  overlading situations (reliability + safety issues)
But … 15 minute data on 10k/35k transformers available nowadays (a.k.a. DALI) …
Let’s use that data!

## Slide 4: Goal of Spark project
Forecast capacity 6-12 months ahead
Example:
Predict in autumn a probability over overloading in spring.
historic data
forecast
autumn
spring
transformer limit
transformer
loading

## Slide 5
dashboard
model
weekly extremes
monthly / weekly
monthly
always
meta data
15 min data
week data
forecasts
Model: propabilistic additive model
total = trend + seasonaility
+ switch_load

## Slide 6: backlog
Modeling
Data Preparation
Data Understanding
Business Understanding
Deployment
Evaluation
Scheduled data preprocessing
Delete data from specific week
Detect max date specific week
Setup task for every week
Model trend exponential function
Deal with switch action in model
Transfer code to functions
Write forecast quantiles in DB
Assess results with business
Backcast function for evaluation
Determine GUI with business
Reusable plot function
Export data for grid planning
Shortcut to meetdata dashboard
Scheduled train + forecast
Setup task for every month
24/7 accessible tool
Dashboard results online
Documentation online
Sorting algorithm for priority
Overload signaling
order / priority

## Slide 7: Way of Working vanuit Data Science/JADS: CRISP-DM
Modeling
Data Preparation
Data Understanding
Business Understanding
Deployment
Evaluation

## Slide 8: Flow Down Business value
Forecast Model
Business Value
Company KPI
Project KPI
Model Usage
Y variables
X Variables
Historic power timeseries DALI
Future power timeseries DALI
Nominal power transformer
Model result
Optimal planning transformer replacement
Safety
Reliability
Affordability
Sustainability
foreseeing transformer overload
Do nothing
Stop growth
Ad hoc replacement
Planned replacement
Overloading
Outage
Claims
Ad hoc resources
Planned resources
Possible actions

## Slide 9: Data
10 random Dali trafo’s from metadata
  7/10 existed in measurement table
  4/10 had enough data (>2 year history)
General observations
  Missing data draws extremes to mean
    Completely missing weeks are interpolated
  Weekly min and max are sufficient
    No added value 2nd extreme (same as 1st)
    Simplifies query
  Sometimes weird situations (switching?)

## Slide 10: Model structure
Generalized Additive Model
  Picked DALI box 133.134-1
  Total = trend + year component

## Slide 11: Model structure
Generalized Additive Model
  Picked DALI box 133.134-1
  Total = trend + year component

## Slide 12: Model parameter estimation
On historic / observed data
  95% quantile band (needs attention)
  Issues with scaling of data for estimation

## Slide 13: Forecasting with model
First impression  not too bad
Next step  validation with data
Request  overloading use cases